## 20 - Mestre
PLC | Station | Master Pro | Function | TAG | Simulated TAG | CLP | Station | Master Pro | Function | TAG | Simulated TAG
I124.0 |  | I20.0 | On Button | O_20_On | SS_20_On | Q124.0 |  | Q20.0 | On LED | I_20_Led_On | SA_20_Led_On
I124.1 |  | I20.1 | Off Button | O_20_Off | SS_20_Off | Q124.1 |  | Q20.1 | Off LED | I_20_Led_Off | SA_20_Led_Off
I124.2 |  | I20.2 |  |  |  | Q124.2 |  | Q20.2
I124.3 |  | I20.3 |  |  |  | Q124.3 |  | Q20.3
I124.4 |  | I20.4 |  |  |  | Q124.4 |  | Q20.4
I124.5 |  | I20.5 |  |  |  | Q124.5 |  | Q20.5
I124.6 |  | I20.6 | Conveyor Controler On | O_20_Controler_On | SS_20_Controler_On | Q124.6 |  | Q20.6
I124.7 |  | I20.7 |  |  |  | Q124.7 |  | Q20.7 | Conveyor On | I_20_Conveyor | SA_20_Conveyor
I125.0 |  | I21.0 | [5 empty] | Q21.0 | MES Running | C_21_MES_On | SC_21_MES_On
I125.1 |  | I21.1 | [5 empty] | Q21.1
I125.2 |  | I21.2 | [5 empty] | Q21.2
I125.3 |  | I21.3 | [5 empty] | Q21.3
I125.4 |  | I21.4 | [5 empty] | Q21.4
I125.5 |  | I21.5 | [5 empty] | Q21.5
I125.6 |  | I21.6 | [5 empty] | Q21.6
I125.7 |  | I21.7 | [5 empty] | Q21.7
Q124.0 |  | I22.0 | On LED | F_22_Led_On |  |  |  | Q22.0
Q124.1 |  | I22.1 | Off LED | F_22_Led_Off |  |  |  | Q22.1
Q124.2 |  | I22.2 | [5 empty] | Q22.2
Q124.3 |  | I22.3 | [5 empty] | Q22.3
Q124.4 |  | I22.4 | [5 empty] | Q22.4
Q124.5 |  | I22.5 | [5 empty] | Q22.5
Q124.6 |  | I22.6 | [5 empty] | Q22.6
Q124.7 |  | I22.7 | Conveyor On | F_22_Conveyor |  |  |  | Q22.7
|  | I23.0 | [5 empty] | Q23.0
|  | I23.1 | [5 empty] | Q23.1
|  | I23.2 | [5 empty] | Q23.2
|  | I23.3 | [5 empty] | Q23.3
|  | I23.4 | [5 empty] | Q23.4
|  | I23.5 | [5 empty] | Q23.5
|  | I23.6 | Route Depart (Vision) | A_23_CRoute_Out |  |  |  | Q23.6 | Route Arrive (Vision) | A_23_CRoute_In
|  | I23.7 | [5 empty] | Q23.7
I11.4 | Test | I24.0 | Cart in station | O_24_Cart_Stat | SS_24_Cart_Stat | Q11.0 | Test | Q24.0 | Release cart - Testing | I_24_Cart_Test | SA_24_Cart_Test
I11.5 | Test | I24.1 | Cart next station | O_24_Cart_Next | SS_24_Cart_Next |  | Test | Q24.1 | Request cart | C_24_Request | SC_24_Request
I11.6 | Test | I24.2 | Optic sensor | O_24_Optic | SS_24_Optic |  | Test | Q24.2 | Route Arrive | C_24_CRoute_In | SC_24_CRoute_In
I11.7 | Test | I24.3 | Count identifier | O_24_Count | SS_24_Count |  | Test | Q24.3
I11.2 | Test | I24.4 | Piston Back | O_24_Pist_Bck | SS_24_Pist_Bck |  | Test | Q24.4
Q11.0 | Test | I24.5 | Pin feedback | F_24_Release_FB |  |  | Test | Q24.5
| Test | I24.6 | Cart Delivered | C_24_CartDel | SC_24_CartDel |  | Test | Q24.6
| Test | I24.7 | Route Depart | C_24_CRoute_Out | SC_24_Croute_Out |  | Test | Q24.7
I12.0 | Proc | I25.0 | Cart in station | O_25_Cart_Stat | SS_25_Cart_Stat | Q13.4 | Proc | Q25.0 | Release cart - Processing | I_25_Cart_Proc | SA_25_Cart_Proc
I12.1 | Proc | I25.1 | Cart next station | O_25_Cart_Next | SS_25_Cart_Next |  | Proc | Q25.1 | Request cart | C_25_Request | SC_25_Request
I12.2 | Proc | I25.2 | Optic sensor | O_25_Optic | SS_25_Optic |  | Proc | Q25.2 | Route Arrive | C_25_CRoute_In | SC_25_CRoute_In
I12.3 | Proc | I25.3 | Count identifier | O_25_Count | SS_25_Count |  | Proc | Q25.3
I13.6 | Proc | I25.4 | Piston Back | O_25_Pist_Bck | SS_25_Pist_Bck |  | Proc | Q25.4
Q13.4 | Proc | I25.5 | Pin feedback | F_25_Release_FB |  |  | Proc | Q25.5
| Proc | I25.6 | Cart Delivered | C_25_CartDel | SC_25_CartDel |  | Proc | Q25.6
|  | I25.7 | Route Depart | C_25_CRoute_Out | SC_25_Croute_Out |  | Proc | Q25.7
I14.4 | Vision | I26.0 | Cart in station | O_26_Cart_Stat | SS_26_Cart_Stat | Q14.0 | Vision | Q26.0 | Release cart - Vision | I_26_Cart_Visi | SA_26_Cart_Visi
I14.5 | Vision | I26.1 | Cart next station | O_26_Cart_Next | SS_26_Cart_Next |  | Vision | Q26.1 | Request cart | C_26_Request | SC_26_Request
I14.6 | Vision | I26.2 | Optic sensor | O_26_Optic | SS_26_Optic |  | Vision | Q26.2 | Route Arrive | C_26_CRoute_In | SC_26_CRoute_In
I14.7 | Vision | I26.3 | Count identifier | O_26_Count | SS_26_Count |  | Vision | Q26.3
I14.2 | Vision | I26.4 | Piston Back | O_26_Pist_Bck | SS_26_Pist_Bck |  | Vision | Q26.4
Q14.0 | Vision | I26.5 | Pin feedback | F_26_Release_FB |  |  | Vision | Q26.5
| Vision | I26.6 | Cart Delivered | C_26_CartDel | SC_26_CartDel |  | Vision | Q26.6
|  | I26.7 | Route Depart | C_26_CRoute_Out | SC_26_Croute_Out |  | Vision | Q26.7
I15.0 | Robot | I27.0 | Cart in station | O_27_Cart_Stat | SS_27_Cart_Stat | Q16.4 | Robot | Q27.0 | Release cart - Robot | I_27_Cart_Robo | SA_27_Cart_Robo
I15.1 | Robot | I27.1 | Cart next station | O_27_Cart_Next | SS_27_Cart_Next |  | Robot | Q27.1 | Request cart | C_27_Request | SC_27_Request
I15.2 | Robot | I27.2 | Optic sensor | O_27_Optic | SS_27_Optic |  | Robot | Q27.2 | Route Arrive | C_27_CRoute_In | SC_27_CRoute_In
I15.3 | Robot | I27.3 | Count identifier | O_27_Count | SS_27_Count |  | Robot | Q27.3
I16.6 | Robot | I27.4 | Piston Back | O_27_Pist_Bck | SS_27_Pist_Bck |  | Robot | Q27.4
Q16.4 | Robot | I27.5 | Pin feedback | F_27_Release_FB |  |  | Robot | Q27.5
| Robot | I27.6 | Cart Delivered | C_27_CartDel | SC_27_CartDel |  | Robot | Q27.6
|  | I27.7 | Route Depart | C_27_CRoute_Out | SC_27_Croute_Out |  | Robot | Q27.7
I17.4 | Storage | I28.0 | Cart in station | O_28_Cart_Stat | SS_28_Cart_Stat | Q17.0 | Storage | Q28.0 | Release cart - Storage | I_28_Cart_Stor | SA_28_Cart_Stor
I17.5 | Storage | I28.1 | Cart next station | O_28_Cart_Next | SS_28_Cart_Next |  | Storage | Q28.1 | Request cart | C_28_Request | SC_28_Request
I17.6 | Storage | I28.2 | Optic sensor | O_28_Optic | SS_28_Optic |  | Storage | Q28.2 | Route Arrive | C_28_CRoute_In | SC_28_CRoute_In
I17.7 | Storage | I28.3 | Count identifier | O_28_Count | SS_28_Count |  | Storage | Q28.3
I17.2 | Storage | I28.4 | Piston Back | O_28_Pist_Bck | SS_28_Pist_Bck |  | Storage | Q28.4
Q17.0 | Storage | I28.5 | Pin feedback | F_28_Release_FB |  |  | Storage | Q28.5
| Storage | I28.6 | Cart Delivered | C_28_CartDel | SC_28_CartDel |  | Storage | Q28.6
|  | I28.7 | Route Depart | C_28_CRoute_Out | SC_28_Croute_Out |  | Storage | Q28.7
I18.0 | Sort | I29.0 | Cart in station | O_29_Cart_Stat | SS_29_Cart_Stat | Q19.4 | Sort | Q29.0 | Release cart - Sorting | I_29_Cart_Sort | SA_29_Cart_Sort
I18.1 | Sort | I29.1 | Cart next station | O_29_Cart_Next | SS_29_Cart_Next |  | Sort | Q29.1 | Request cart | C_29_Request | SC_29_Request
I18.2 | Sort | I29.2 | Optic sensor | O_29_Optic | SS_29_Optic |  | Sort | Q29.2 | Route Arrive | C_29_CRoute_In | SC_29_CRoute_In
I18.3 | Sort | I29.3 | Count identifier | O_29_Count | SS_29_Count |  | Sort | Q29.3
I19.6 | Sort | I29.4 | Piston Back | O_29_Pist_Bck | SS_29_Pist_Bck |  | Sort | Q29.4
Q19.4 | Sort | I29.5 | Pin feedback | F_29_Release_FB |  |  | Sort | Q29.5
| Sort | I29.6 | Cart Delivered | C_29_CartDel | SC_29_CartDel |  | Sort | Q29.6
|  | I29.7 | Route Depart | C_29_CRoute_Out | SC_29_Croute_Out |  | Sort | Q29.7

## 30 - Robot
PLC | Master Pro | Function | TAG | Simulated TAG | Remote | Master Pro | Function | TAG | Simulated TAG
| I30.0 |  |  |  | Q0.0 | Q30.0 | Start LED | I_30_Led_Start | SA_30_Led_Start
| I30.1 |  |  |  | Q0.1 | Q30.1 | Reset LED | I_30_Led_Reset | SA_30_Led_Reset
| I30.2 |  |  |  | Q0.2 | Q30.2 | LED Extra1 | I_30_Led_Extra1 | SA_30_Led_Extra1
| I30.3 |  |  |  | Q0.3 | Q30.3 | LED Extra2 | I_30_Led_Extra2 | SA_30_Led_Extra2
| I30.4 |  |  |  | Q0.4 | Q30.4 | Spring Cylinder | I_30_Spring_Cyl | SA_30_Spring_Cyl
| I30.5 |  |  |  | Q0.5 | Q30.5 | Cover Cylinder | I_30_Cover_Cyl | SA_30_Cover_Cyl
| I30.6 |  |  |  | Q0.6 | Q30.6 | Robot Function 1 | C_30_Robot1 | SC_30_Robot1
| I30.7 |  |  |  | Q0.7 | Q30.7 | Robot Function 2 | C_30_Robot2 | SC_30_Robot2
I1.0 | I31.0 | Start Button | O_31_Start | SS_31_Start |  | Q31.0
I1.1 | I31.1 | Stop Button | O_31_Stop | SS_31_Stop |  | Q31.1
I1.2 | I31.2 | Reset Button | O_31_Reset | SS_31_Reset |  | Q31.2
| I31.3 |  |  |  |  | Q31.3
| I31.4 |  |  |  |  | Q31.4
| I31.5 |  |  |  |  | Q31.5
I1.6 | I31.6 | Part in Robot Claw | O_31_Part_in_Claw | SS_31_Part_in_Claw |  | Q31.6
I1.7 | I31.7 | Orientation of Part | O_31_Orientation | SS_31_Orientation |  | Q31.7
I2.0 | I32.0 | Spring Cylinder Back | O_32_Sp_Cyl_Bck | SS_32_Sp_Cyl_Bck | Cart Number | QB32 | Cart Number ID | A_32_RoboCartID | SR_32_RoboCartID
I2.1 | I32.1 | Spring Cylinder Forward | O_32_Sp_Cyl_Fwd | SS_32_Sp_Cyl_Fwd
I2.2 | I32.2 | Cover Cylinder Back | O_32_Co_Cyl_Bck | SS_32_Co_Cyl_Bck
I2.3 | I32.3 | Cover Cylinder Forward | O_32_Co_Cyl_Fwd | SS_32_Co_Cyl_Fwd
I2.4 | I32.4 | Spring in Pick up position | O_32_Sp_PickUp | SS_32_Sp_PickUp
I2.5 | I32.5 | Cover in Pick-up position | O_32_Co_PickUp | SS_32_Co_PickUp
I2.6 | I32.6 | Cover Magazine Empty | O_32_CoMag_Empty | SS_32_CoMag_Empty
I32.7
| I33.0 |  |  |  |  | Q33.0 | Start LED | F_33_LED_Start
| I33.1 |  |  |  |  | Q33.1 | Reset LED | F_33_Led_Reset
| I33.2 |  |  |  |  | Q33.2 | LED Extra1 | F_33_Led_Extra1
| I33.3 |  |  |  |  | Q33.3 | LED Extra2 | F_33_Led_Extra2
| I33.4 |  |  |  |  | Q33.4 | Spring Cylinder | F_33_Spring_Cyl
| I33.5 |  |  |  |  | Q33.5 | Cover Cylinder | F_33_Cover_Cyl
| I33.6 |  |  |  |  | Q33.6
| I33.7 |  |  |  |  | Q33.7
AS-I | I34.0 | Request cart | A_34_Request | SR_34_Request | AS-I | Q34.0 | Cart in station | A_34_Cart_Stat
| I34.1 | No Cart at Station | A_34_No_Cart | SR_34_No_Cart |  | Q34.1 | Cart near next station | A_34_Cart_Next
| I34.2 | Cart Full at Station | A_34_Cart_Full | SR_34_Cart_Full |  | Q34.2 | Optic sensor on station | A_34_Optic
| I34.3 | Process Finished - Routing | A_34_CRoute_Out | SR_34_CRoute_Out |  | Q34.3 | Cart count identifier | A_34_Count
| I34.4 |  |  |  |  | Q34.4 | Piston in back position | A_34_Pist_Bck
| I34.5 |  |  |  |  | Q34.5 | Pin release feedback | A_34_Release_FB
| I34.6 |  |  |  |  | Q34.6 | Cart Arrived - Routing | A_34_CRoute_In | SR_34_CRoute_In
| I34.7 |  |  |  |  | Q34.7
Control | I35.0 |  |  |  | Control | Q35.0 | Part Deliverd | C_35_Part_Del | SC_35_Part_Del
| I35.1 |  |  |  |  | Q35.1
| I35.2 |  |  |  |  | Q35.2
| I35.3 |  |  |  |  | Q35.3
| I35.4 |  |  |  |  | Q35.4
| I35.5 |  |  |  |  | Q35.5
| I35.6 |  |  |  |  | Q35.6
| I35.7 |  |  |  |  | Q35.7
| I36.0 |  |  |  |  | Q36.0
| I36.1 |  |  |  |  | Q36.1
| I36.2 |  |  |  |  | Q36.2
| I36.3 |  |  |  |  | Q36.3
| I36.4 |  |  |  |  | Q36.4
| I36.5 |  |  |  |  | Q36.5
| I36.6 |  |  |  |  | Q36.6
| I36.7 |  |  |  |  | Q36.7
| I37.0 |  |  |  |  | Q37.0
| I37.1 |  |  |  |  | Q37.1
| I37.2 |  |  |  |  | Q37.2
| I37.3 |  |  |  |  | Q37.3
| I37.4 |  |  |  |  | Q37.4
| I37.5 |  |  |  |  | Q37.5
| I37.6 |  |  |  |  | Q37.6
| I37.7 |  |  |  |  | Q37.7
| I38.0 |  |  |  |  | Q38.0
| I38.1 |  |  |  |  | Q38.1
| I38.2 |  |  |  |  | Q38.2
| I38.3 |  |  |  |  | Q38.3
| I38.4 |  |  |  |  | Q38.4
| I38.5 |  |  |  |  | Q38.5
| I38.6 |  |  |  |  | Q38.6
| I38.7 |  |  |  |  | Q38.7
| I39.0 |  |  |  |  | Q39.0
| I39.1 |  |  |  |  | Q39.1
| I39.2 |  |  |  |  | Q39.2
| I39.3 |  |  |  |  | Q39.3
| I39.4 |  |  |  |  | Q39.4
| I39.5 |  |  |  |  | Q39.5
| I39.6 |  |  |  |  | Q39.6
| I39.7 |  |  |  |  | Q39.7

## RFID
Function | TAG | Simulated TAG
Reads the TAG ID | R_Ant1_R_TagID | SID_Ant1_R_TagID
Reads User Data | R_Ant1_R_UserData | SID_Ant1_R_UserData
Writes to the TAG ID | R_Ant1_W_TagID | SID_Ant1_W_TagID
Writes User Data | R_Ant1_W_UserData | SID_Ant1_W_UserData
Reads the TAG ID | R_Ant2_R_TagID | SID_Ant2_R_TagID
Reads User Data | R_Ant2_R_UserData | SID_Ant2_R_UserData
Writes to the TAG ID | R_Ant2_W_TagID | SID_Ant2_W_TagID
Writes User Data | R_Ant2_W_UserData | SID_Ant2_W_UserData
Reads the TAG ID | R_Ant3_R_TagID | SID_Ant3_R_TagID
Reads User Data | R_Ant3_R_UserData | SID_Ant3_R_UserData
Writes to the TAG ID | R_Ant3_W_TagID | SID_Ant3_W_TagID
Writes User Data | R_Ant3_W_UserData | SID_Ant3_W_UserData
Reads the TAG ID | R_Ant4_R_TagID | SID_Ant4_R_TagID
Reads User Data | R_Ant4_R_UserData | SID_Ant4_R_UserData
Writes to the TAG ID | R_Ant4_W_TagID | SID_Ant4_W_TagID
Writes User Data | R_Ant4_W_UserData | SID_Ant4_W_UserData

## 40 - Storage
PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG | PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG
I124.0 | Q40.0 | I40.0 |  |  |  | Q124.0 | I40.0 | Q40.0
I124.1 | Q40.1 | I40.1 |  |  |  | Q124.1 | I40.1 | Q40.1
I124.2 | Q40.2 | I40.2 |  |  |  | Q124.2 | I40.2 | Q40.2
I124.3 | Q40.3 | I40.3 |  |  |  | Q124.3 | I40.3 | Q40.3
I124.4 | Q40.4 | I40.4 |  |  |  | Q124.4 | I40.4 | Q40.4
I124.5 | Q40.5 | I40.5 |  |  |  | Q124.5 | I40.5 | Q40.5
I124.6 | Q40.6 | I40.6 |  |  |  | Q124.6 | I40.6 | Q40.6
I124.7 | Q40.7 | I40.7 |  |  |  | Q124.7 | I40.7 | Q40.7
I125.0 | Q41.0 | I41.0 | Start Button | O_41_Start | SS_41_Start | Q125.0 | I41.0 | Q41.0 | Start LED | I_41_Led_Start | SA_41_Led_Start
I125.1 | Q41.1 | I41.1 | Stop Button | O_41_Stop | SS_41_Stop | Q125.1 | I41.1 | Q41.1 | Reset LED | I_41_Led_Reset | SA_41_Led_Reset
I125.2 | Q41.2 | I41.2 | Key position | O_41_Key_Pos | SS_41_Key_Pos | Q125.2 | I41.2 | Q41.2 | Extra1 LED | I_41_Led_Extra1 | SA_41_Led_Extra1
I125.3 | Q41.3 | I41.3 | Reset Button | O_41_Reset | SS_41_Reset | Q125.3 | I41.3 | Q41.3 | Extra2 LED | I_41_Led_Extra2 | SA_41_Led_Extra2
I125.4 | Q41.4 | I41.4 | Panel I4 (Outside connection) | O_41_Panel_I4 | SS_41_Panel_I4 | Q125.4 | I41.4 | Q41.4 | Panel O4 (Outside connection) | I_41_Panel_O4 | SA_41_Panel_O4
I125.5 | Q41.5 | I41.5 | Panel I5 (Outside connection) | O_41_Panel_I5 | SS_41_Panel_I5 | Q125.5 | I41.5 | Q41.5 | Panel O5 (Outside connection) | I_41_Panel_O5 | SA_41_Panel_O5
I125.6 | Q41.6 | I41.6 | Panel I6 (Outside connection) | O_41_Panel_I6 | SS_41_Panel_I6 | Q125.6 | I41.6 | Q41.6 | Panel O6 (Outside connection) | I_41_Panel_O6 | SA_41_Panel_O6
I125.7 | Q41.7 | I41.7 | Panel I7 (Outside connection) | O_41_Panel_I7 | SS_41_Panel_I7 | Q125.7 | I41.7 | Q41.7 | Panel O7 (Outside connection) | I_41_Panel_O7 | SA_41_Panel_O7
Q124.0 | Q42.0 | I42.0 |  |  |  |  | I42.0 | Q42.0 | Profibus OK | C_42_Profibus | SC_42_Profibus
Q124.1 | Q42.1 | I42.1
Q124.2 | Q42.2 | I42.2
Q124.3 | Q42.3 | I42.3
| Q42.4 | I42.4
| Q42.5 | I42.5
| Q42.6 | I42.6
| Q42.7 | I42.7
Q125.0 | Q43.0 | I43.0 | Start LED | F_43_Led_Start |  | Cart Number | IB43 | QB43 | Cart Number ID | A_43_StorCartID | SR_43_StorCartID
Q125.1 | Q43.1 | I43.1 | Reset LED | F_43_Led_Reset
Q125.2 | Q43.2 | I43.2 | Extra1 LED | F_43_Led_Extra1
Q125.3 | Q43.3 | I43.3 | Extra2 LED | F_43_Led_Extra2
Q125.4 | Q43.4 | I43.4 | Panel O4 (Outside connection) | F_43_Panel_O4
Q125.5 | Q43.5 | I43.5 | Panel O5 (Outside connection) | F_43_Panel_O5
Q125.6 | Q43.6 | I43.6 | Panel O6 (Outside connection) | F_43_Panel_O6
Q125.7 | Q43.7 | I43.7 | Panel O7 (Outside connection) | F_43_Panel_O7
AS-I & Cart Routing | Q44.0 | I44.0 | Request cart | A_44_Request | SR_44_Request | AS-I | I44.0 | Q44.0 | Cart in station | A_44_Cart_Stat
| Q44.1 | I44.1 | No Cart at Station | A_44_No_Cart | SR_44_No_Cart |  | I44.1 | Q44.1 | Cart near next station | A_44_Cart_Next
| Q44.2 | I44.2 | Cart Full at Station | A_44_Cart_Full | SR_44_Cart_Full |  | I44.2 | Q44.2 | Optic sensor on station | A_44_Optic
| Q44.3 | I44.3 | Process Finished - Routing | A_44_CRoute_Out | SR_44_CRoute_Out |  | I44.3 | Q44.3 | Cart count identifier | A_44_Count
| Q44.4 | I44.4 |  |  |  |  | I44.4 | Q44.4 | Piston in back position | A_44_Pist_Bck
| Q44.5 | I44.5 |  |  |  |  | I44.5 | Q44.5 | Pin release feedback | A_44_Release_FB
| Q44.6 | I44.6 |  |  |  |  | I44.6 | Q44.6 | Cart Arrived - Routing | A_44_CRoute_In | SR_44_CRoute_In
| Q44.7 | I44.7 |  |  |  |  | I44.7 | Q44.7
Control | Q45.0 | I45.0 | Initialization Ok | C_45_Initialization | SC_45_Initialization | Control | I45.0 | Q45.0 | Start Procedure | C_45_Start | SC_45_Start
| Q45.1 | I45.1 |  |  |  |  | I45.1 | Q45.1 | Store Part | C_45_StorePart | SC_45_StorePart
| Q45.2 | I45.2 |  |  |  |  | I45.2 | Q45.2 | Retrieve Part | C_45_RetrievePart | SC_45_RetrievePart
| Q45.3 | I45.3 |  |  |  |  | I45.3 | Q45.3
| Q45.4 | I45.4 |  |  |  |  | I45.4 | Q45.4
| Q45.5 | I45.5 |  |  |  |  | I45.5 | Q45.5
| Q45.6 | I45.6 |  |  |  |  | I45.6 | Q45.6
| Q45.7 | I45.7 |  |  |  |  | I45.7 | Q45.7
| Q46.0 | I46.0 |  |  |  |  | I46.0 | Q46.0
| Q46.1 | I46.1 |  |  |  |  | I46.1 | Q46.1
| Q46.2 | I46.2 |  |  |  |  | I46.2 | Q46.2
| Q46.3 | I46.3 |  |  |  |  | I46.3 | Q46.3
| Q46.4 | I46.4 |  |  |  |  | I46.4 | Q46.4
| Q46.5 | I46.5 |  |  |  |  | I46.5 | Q46.5
| Q46.6 | I46.6 |  |  |  |  | I46.6 | Q46.6
| Q46.7 | I46.7 |  |  |  |  | I46.7 | Q46.7
| Q47.0 | I47.0 |  |  |  |  | I47.0 | Q47.0
| Q47.1 | I47.1 |  |  |  |  | I47.1 | Q47.1
| Q47.2 | I47.2 |  |  |  |  | I47.2 | Q47.2
| Q47.3 | I47.3 |  |  |  |  | I47.3 | Q47.3
| Q47.4 | I47.4 |  |  |  |  | I47.4 | Q47.4
| Q47.5 | I47.5 |  |  |  |  | I47.5 | Q47.5
| Q47.6 | I47.6 |  |  |  |  | I47.6 | Q47.6
| Q47.7 | I47.7 |  |  |  |  | I47.7 | Q47.7
| Q48.0 | I48.0 |  |  |  |  | I48.0 | Q48.0
| Q48.1 | I48.1 |  |  |  |  | I48.1 | Q48.1
| Q48.2 | I48.2 |  |  |  |  | I48.2 | Q48.2
| Q48.3 | I48.3 |  |  |  |  | I48.3 | Q48.3
| Q48.4 | I48.4 |  |  |  |  | I48.4 | Q48.4
| Q48.5 | I48.5 |  |  |  |  | I48.5 | Q48.5
| Q48.6 | I48.6 |  |  |  |  | I48.6 | Q48.6
| Q48.7 | I48.7 |  |  |  |  | I48.7 | Q48.7
| Q49.0 | I49.0 |  |  |  |  | I49.0 | Q49.0
| Q49.1 | I49.1 |  |  |  |  | I49.1 | Q49.1
| Q49.2 | I49.2 |  |  |  |  | I49.2 | Q49.2
| Q49.3 | I49.3 |  |  |  |  | I49.3 | Q49.3
| Q49.4 | I49.4 |  |  |  |  | I49.4 | Q49.4
| Q49.5 | I49.5 |  |  |  |  | I49.5 | Q49.5
| Q49.6 | I49.6 |  |  |  |  | I49.6 | Q49.6
| Q49.7 | I49.7 |  |  |  |  | I49.7 | Q49.7

## 50 - Handling 1
PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG | PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG
I124.0 | Q50.0 | I50.0 | Part in reserve position | O_50_Part_Reserve | SS_50_Part_Reserve | Q124.0 | I50.0 | Q50.0 | Moves claw to delivery position | I_50_Claw_2_Del | SA_50_Claw_2_Del
I124.1 | Q50.1 | I50.1 | Claw at cart position | O_50_Claw_Cart | SS_50_Claw_Cart | Q124.1 | I50.1 | Q50.1 | Moves claw to cart position | I_50_Claw_2_Cart | SA_50_Claw_2_Cart
I124.2 | Q50.2 | I50.2 | Claw at delivery position | O_50_Claw_Del | SS_50_Claw_Del | Q124.2 | I50.2 | Q50.2 | Lowers claw | I_50_Claw_Down | SA_50_Claw_Down
I124.3 | Q50.3 | I50.3 | Claw at reserve position | O_50_Claw_Reserve | SS_50_Claw_Reserve | Q124.3 | I50.3 | Q50.3 |  | I_50_Close_Claw | SA_50_Close_Claw
I124.4 | Q50.4 | I50.4 | Claw Low | O_50_Claw_Low | SS_50_Claw_Low |  | I50.4 | Q50.4
I124.5 | Q50.5 | I50.5 | Claw high | O_50_Claw_High | SS_50_Claw_High |  | I50.5 | Q50.5
I124.6 | Q50.6 | I50.6 | Part in claw | O_50_Part_in_Claw | SS_50_Part_in_Claw |  | I50.6 | Q50.6
| Q50.7 | I50.7 |  |  |  |  | I50.7 | Q50.7
I125.0 | Q51.0 | I51.0 | Start Button | O_51_Start | SS_51_Start | Q125.0 | I51.0 | Q51.0 | Start LED (Initialization) | I_51_Led_Start | SA_51_Led_Start
I125.1 | Q51.1 | I51.1 | Stop Button | O_51_Stop | SS_51_Stop | Q125.1 | I51.1 | Q51.1 | Reset LED (Reset) | I_51_Led_Reset | SA_51_Led_Reset
I125.2 | Q51.2 | I51.2 | Key position | O_51_Key_Pos | SS_51_Key_Pos | Q125.2 | I51.2 | Q51.2 | Extra1 LED (No Cart) | I_51_Led_Extra1 | SA_51_Led_Extra1
I125.3 | Q51.3 | I51.3 | Reset Button | O_51_Reset | SS_51_Reset | Q125.3 | I51.3 | Q51.3 | Extra2 LED (Cart Full) | I_51_Led_Extra2 | SA_51_Led_Extra2
I125.4 | Q51.4 | I51.4 | Panel I4 (Outside connection) | O_51_Panel_I4 | SS_51_Panel_I4 | Q125.4 | I51.4 | Q51.4 | Panel O4 (Outside connection) | I_51_Panel_O4 | SA_51_Panel_O4
I125.5 | Q51.5 | I51.5 | Panel I5 (Outside connection) | O_51_Panel_I5 | SS_51_Panel_I5 | Q125.5 | I51.5 | Q51.5 | Panel O5 (Outside connection) | I_51_Panel_O5 | SA_51_Panel_O5
I125.6 | Q51.6 | I51.6 | Panel I6 (Outside connection) | O_51_Panel_I6 | SS_51_Panel_I6 | Q125.6 | I51.6 | Q51.6 | Panel O6 (Outside connection) | I_51_Panel_O6 | SA_51_Panel_O6
I125.7 | Q51.7 | I51.7 | Panel I7 (Outside connection) | O_51_Panel_I7 | SS_51_Panel_I7 | Q125.7 | I51.7 | Q51.7 | Panel O7 (Outside connection) | I_51_Panel_O7 | SA_51_Panel_O7
Q124.0 | Q52.0 | I52.0 | Moves claw to delivery position | F_52_Claw_2_Del |  |  | I52.0 | Q52.0 | Profibus OK | C_52_Profibus | SC_52_Profibus
Q124.1 | Q52.1 | I52.1 | Moves claw to cart position | F_52_Claw_2_Cart
Q124.2 | Q52.2 | I52.2 | Lowers claw | F_52_Claw_Down
Q124.3 | Q52.3 | I52.3 | Closes claw | F_52_Close_Claw
| Q52.4 | I52.4
| Q52.5 | I52.5
| Q52.6 | I52.6
| Q52.7 | I52.7
Q125.0 | Q53.0 | I53.0 | Start LED | F_53_Led_Start |  | Cart Number | IB53 | QB53 | Cart Number ID | A_53_SortCartID | SR_53_SortCartID
Q125.1 | Q53.1 | I53.1 | Reset LED | F_53_Led_Reset
Q125.2 | Q53.2 | I53.2 | Extra1 LED | F_53_Led_Extra1
Q125.3 | Q53.3 | I53.3 | Extra2 LED | F_53_Led_Extra2
Q125.4 | Q53.4 | I53.4 | Panel O4 (Outside connection) | F_53_Panel_O4
Q125.5 | Q53.5 | I53.5 | Panel O5 (Outside connection) | F_53_Panel_O5
Q125.6 | Q53.6 | I53.6 | Panel O6 (Outside connection) | F_53_Panel_O6
Q125.7 | Q53.7 | I53.7 | Panel O7 (Outside connection) | F_53_Panel_O7
AS-I | Q54.0 | I54.0 | Request cart | A_54_Request | SR_54_Request | AS-I | I54.0 | Q54.0 | Cart in station | A_54_Cart_Stat
| Q54.1 | I54.1 | No Cart at Station | A_54_No_Cart | SR_54_No_Cart |  | I54.1 | Q54.1 | Cart near next station | A_54_Cart_Next
| Q54.2 | I54.2 | Cart Full at Station | A_54_Cart_Full | SR_54_Cart_Full |  | I54.2 | Q54.2 | Optic sensor on station | A_54_Optic
| Q54.3 | I54.3 | Process Finished - Routing | A_54_CRoute_Out | SR_54_CRoute_Out |  | I54.3 | Q54.3 | Cart count identifier | A_54_Count
| Q54.4 | I54.4 |  |  |  |  | I54.4 | Q54.4 | Piston in back position | A_54_Pist_Bck
| Q54.5 | I54.5 |  |  |  |  | I54.5 | Q54.5 | Pin release feedback | A_54_Release_FB
| Q54.6 | I54.6 |  |  |  |  | I54.6 | Q54.6 | Cart Arrived - Routing | A_54_CRoute_In | SR_54_CRoute_In
| Q54.7 | I54.7 |  |  |  |  | I54.7 | Q54.7
Control | Q55.0 | I55.0 | Initialization Routine | C_55_Initialization | SC_55_Initialization | Control | I55.0 | Q55.0 | Start Arm Movement | C_55_Start | SC_55_Start
| Q55.1 | I55.1 | Part Delivered to Sorting | C_55_PD_Sort | SC_55_PD_Sort |  | I55.1 | Q55.1 | Cart to Delivery Mode | C_55_Cart2Del | SC_55_Cart2Del
| Q55.2 | I55.2 |  |  |  |  | I55.2 | Q55.2
| Q55.3 | I55.3 |  |  |  |  | I55.3 | Q55.3
| Q55.4 | I55.4 |  |  |  |  | I55.4 | Q55.4
| Q55.5 | I55.5 |  |  |  |  | I55.5 | Q55.5
| Q55.6 | I55.6 |  |  |  |  | I55.6 | Q55.6
| Q55.7 | I55.7 |  |  |  |  | I55.7 | Q55.7
| Q56.0 | I56.0 |  |  |  |  | I56.0 | Q56.0
| Q56.1 | I56.1 |  |  |  |  | I56.1 | Q56.1
| Q56.2 | I56.2 |  |  |  |  | I56.2 | Q56.2
| Q56.3 | I56.3 |  |  |  |  | I56.3 | Q56.3
| Q56.4 | I56.4 |  |  |  |  | I56.4 | Q56.4
| Q56.5 | I56.5 |  |  |  |  | I56.5 | Q56.5
| Q56.6 | I56.6 |  |  |  |  | I56.6 | Q56.6
| Q56.7 | I56.7 |  |  |  |  | I56.7 | Q56.7
| Q57.0 | I57.0 |  |  |  |  | I57.0 | Q57.0
| Q57.1 | I57.1 |  |  |  |  | I57.1 | Q57.1
| Q57.2 | I57.2 |  |  |  |  | I57.2 | Q57.2
| Q57.3 | I57.3 |  |  |  |  | I57.3 | Q57.3
| Q57.4 | I57.4 |  |  |  |  | I57.4 | Q57.4
| Q57.5 | I57.5 |  |  |  |  | I57.5 | Q57.5
| Q57.6 | I57.6 |  |  |  |  | I57.6 | Q57.6
| Q57.7 | I57.7 |  |  |  |  | I57.7 | Q57.7
| Q58.0 | I58.0 |  |  |  |  | I58.0 | Q58.0
| Q58.1 | I58.1 |  |  |  |  | I58.1 | Q58.1
| Q58.2 | I58.2 |  |  |  |  | I58.2 | Q58.2
| Q58.3 | I58.3 |  |  |  |  | I58.3 | Q58.3
| Q58.4 | I58.4 |  |  |  |  | I58.4 | Q58.4
| Q58.5 | I58.5 |  |  |  |  | I58.5 | Q58.5
| Q58.6 | I58.6 |  |  |  |  | I58.6 | Q58.6
| Q58.7 | I58.7 |  |  |  |  | I58.7 | Q58.7
| Q59.0 | I59.0 |  |  |  |  | I59.0 | Q59.0
| Q59.1 | I59.1 |  |  |  |  | I59.1 | Q59.1
| Q59.2 | I59.2 |  |  |  |  | I59.2 | Q59.2
| Q59.3 | I59.3 |  |  |  |  | I59.3 | Q59.3
| Q59.4 | I59.4 |  |  |  |  | I59.4 | Q59.4
| Q59.5 | I59.5 |  |  |  |  | I59.5 | Q59.5
| Q59.6 | I59.6 |  |  |  |  | I59.6 | Q59.6
| Q59.7 | I59.7 |  |  |  |  | I59.7 | Q59.7

## 60 - Sorting
PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG | PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG | Part Color Table
I124.0 | Q60.0 | I60.0 | Part sensor | O_60_SPart | SS_60_SPart | Q124.0 | I60.0 | Q60.0 | Conveyor on | I_60_Conveyor | SA_60_Conveyor | Bit 1 | Bit 2 | Tipo Peça
I124.1 | Q60.1 | I60.1 | Inductive sensor (metalic) | O_60_SInd | SS_60_SInd | Q124.1 | I60.1 | Q60.1 | Pushes Lever 1 forward | I_60_P1 | SA_60_P1 | 0 | 0 | No part
I124.2 | Q60.2 | I60.2 | Photoelectric (color) sensor | O_60_SPhoto | SS_60_SPhoto | Q124.2 | I60.2 | Q60.2 | Pushes Lever 2 forward | I_60_P2 | SA_60_P2 | 0 | 1 | Metallic part
I124.3 | Q60.3 | I60.3 | Part has passed the identify | O_60_Part_Pass | SS_60_Part_Pass | Q124.3 | I60.3 | Q60.3 | Identify pin | I_60_Identify | SA_60_Identify | 1 | 0 | Black part
I124.4 | Q60.4 | I60.4 | Lever1 back position | O_60_SL1_Bck | SS_60_SL1_Bck | Q124.4 | I60.4 | Q60.4 |  |  |  | 1 | 1 | Red part
I124.5 | Q60.5 | I60.5 | Lever1 forward position | O_60_SL1_Fwd | SS_60_SL1_Fwd | Q124.5 | I60.5 | Q60.5
I124.6 | Q60.6 | I60.6 | Lever2 back position | O_60_SL2_Bck | SS_60_SL2_Bck | Q124.6 | I60.6 | Q60.6
I124.7 | Q60.7 | I60.7 | Lever2 forward position | O_60_SL2_Fwd | SS_60_SL2_Fwd | Q124.7 | I60.7 | Q60.7
I125.0 | Q61.0 | I61.0 | Start Button | O_61_Start | SS_61_Start | Q125.0 | I61.0 | Q61.0 | Start LED | I_61_Led_Start | SA_61_Led_Start
I125.1 | Q61.1 | I61.1 | Stop Button | O_61_Stop | SS_61_Stop | Q125.1 | I61.1 | Q61.1 | Reset LED | I_61_Led_Reset | SA_61_Led_Reset
I125.2 | Q61.2 | I61.2 | Key position | O_61_Key_Pos | SS_61_Key_Pos | Q125.2 | I61.2 | Q61.2 | Extra1 LED | I_61_Led_Extra1 | SA_61_Led_Extra1
I125.3 | Q61.3 | I61.3 | Reset Button | O_61_Reset | SS_61_Reset | Q125.3 | I61.3 | Q61.3 | Extra2 LED | I_61_Led_Extra2 | SA_61_Led_Extra2
I125.4 | Q61.4 | I61.4 | Panel I4 (Outside connection) | O_61_Panel_I4 | SS_61_Panel_I4 | Q125.4 | I61.4 | Q61.4 | Panel O4 (Outside connection) | I_61_Panel_O4 | SA_61_Panel_O4
I125.5 | Q61.5 | I61.5 | Panel I5 (Outside connection) | O_61_Panel_I5 | SS_61_Panel_I5 | Q125.5 | I61.5 | Q61.5 | Panel O5 (Outside connection) | I_61_Panel_O5 | SA_61_Panel_O5
I125.6 | Q61.6 | I61.6 | Panel I6 (Outside connection) | O_61_Panel_I6 | SS_61_Panel_I6 | Q125.6 | I61.6 | Q61.6 | Panel O6 (Outside connection) | I_61_Panel_O6 | SA_61_Panel_O6
I125.7 | Q61.7 | I61.7 | Panel I7 (Outside connection) | O_61_Panel_I7 | SS_61_Panel_I7 | Q125.7 | I61.7 | Q61.7 | Panel O7 (Outside connection) | I_61_Panel_O7 | SA_61_Panel_O7
Q124.0 | Q62.0 | I62.0 | Conveyor on | F_62_Conveyor |  |  | I62.0 | Q62.0 | Profibus OK | C_62_Profibus | SC_62_Profibus
Q124.1 | Q62.1 | I62.1 | Pushes Lever 1 forward | F_62_P1 |  |  | I62.1 | Q62.1
Q124.2 | Q62.2 | I62.2 | Pushes Lever 2 forward | F_62_P2 |  |  | I62.2 | Q62.2
Q124.3 | Q62.3 | I62.3 | Identify pin | F_62_Identify |  |  | I62.3 | Q62.3
Q124.4 | Q62.4 | I62.4 |  |  |  |  | I62.4 | Q62.4
Q124.5 | Q62.5 | I62.5 |  |  |  |  | I62.5 | Q62.5
Q124.6 | Q62.6 | I62.6 |  |  |  |  | I62.6 | Q62.6
Q124.7 | Q62.7 | I62.7 |  |  |  |  | I62.7 | Q62.7
Q125.0 | Q63.0 | I63.0 | Start LED | F_63_Led_Start |  |  | I63.0 | Q63.0
Q125.1 | Q63.1 | I63.1 | Reset LED | F_63_Led_Reset |  |  | I63.1 | Q63.1
Q125.2 | Q63.2 | I63.2 | Extra1 LED | F_63_Led_Extra1 |  |  | I63.2 | Q63.2
Q125.3 | Q63.3 | I63.3 | Extra2 LED | F_63_Led_Extra2 |  |  | I63.3 | Q63.3
Q125.4 | Q63.4 | I63.4 | Panel O4 (Outside connection) | F_63_Panel_O4 |  |  | I63.4 | Q63.4
Q125.5 | Q63.5 | I63.5 | Panel O5 (Outside connection) | F_63_Panel_O5 |  |  | I63.5 | Q63.5
Q125.6 | Q63.6 | I63.6 | Panel O6 (Outside connection) | F_63_Panel_O6 |  |  | I63.6 | Q63.6
Q125.7 | Q63.7 | I63.7 | Panel O7 (Outside connection) | F_63_Panel_O7 |  |  | I61.7 | Q61.7
AS-I | Q64.0 | I64.0 |  |  |  | AS-I | I64.0 | Q64.0
| Q64.1 | I64.1 |  |  |  |  | I64.1 | Q64.1
| Q64.2 | I64.2 |  |  |  |  | I64.2 | Q64.2
| Q64.3 | I64.3 |  |  |  |  | I64.3 | Q64.3
| Q64.4 | I64.4 |  |  |  |  | I64.4 | Q64.4
| Q64.5 | I64.5 |  |  |  |  | I64.5 | Q64.5
| Q64.6 | I64.6 |  |  |  |  | I64.6 | Q64.6
| Q64.7 | I64.7 |  |  |  |  | I64.7 | Q64.7
Control | Q65.0 | I65.0 | Initialization Routine | C_65_Initialization | SC_65_Initialization | Control | I65.0 | Q65.0 | Red-Black-Silver Output | C_65_RBS_Output | SC_65_RBS_Output
| Q65.1 | I65.1 | Identified - Bit 1 | C_65_ID_1 | SC_65_ID_1 |  | I65.1 | Q65.1 | Red-Silver-Black Output | C_65_RSB_Output | SC_65_RSB_Output
| Q65.2 | I65.2 | Identified - Bit 2 | C_65_ID_2 | SC_65_ID_2 |  | I65.2 | Q65.2 | Black-Red-Silver Output | C_65_BRS_Output | SC_65_BRS_Output
| Q65.3 | I65.3 | Part Sorted | C_65_Part_Sorted | SC_65_Part_Sorted |  | I65.3 | Q65.3 | Black-Silver-Red Output | C_65_BSR_Output | SC_65_BSR_Output
| Q65.4 | I65.4 |  |  |  |  | I65.4 | Q65.4 | Silver-Red-Black Output | C_65_SRB_Output | SC_65_SRB_Output
| Q65.5 | I65.5 |  |  |  |  | I65.5 | Q65.5 | Silver-Black_Red Output | C_65_SBR_Output | SC_65_SBR_Output
| Q65.6 | I65.6 |  |  |  |  | I65.6 | Q65.6
| Q65.7 | I65.7 |  |  |  |  | I65.7 | Q65.7
| Q66.0 | I66.0 |  |  |  |  | I66.0 | Q66.0
| Q66.1 | I66.1 |  |  |  |  | I66.1 | Q66.1
| Q66.2 | I66.2 |  |  |  |  | I66.2 | Q66.2
| Q66.3 | I66.3 |  |  |  |  | I66.3 | Q66.3
| Q66.4 | I66.4 |  |  |  |  | I66.4 | Q66.4
| Q66.5 | I66.5 |  |  |  |  | I66.5 | Q66.5
| Q66.6 | I66.6 |  |  |  |  | I66.6 | Q66.6
| Q66.7 | I66.7 |  |  |  |  | I66.7 | Q66.7
| Q67.0 | I67.0 |  |  |  |  | I67.0 | Q67.0
| Q67.1 | I67.1 |  |  |  |  | I67.1 | Q67.1
| Q67.2 | I67.2 |  |  |  |  | I67.2 | Q67.2
| Q67.3 | I67.3 |  |  |  |  | I67.3 | Q67.3
| Q67.4 | I67.4 |  |  |  |  | I67.4 | Q67.4
| Q67.5 | I67.5 |  |  |  |  | I67.5 | Q67.5
| Q67.6 | I67.6 |  |  |  |  | I67.6 | Q67.6
| Q67.7 | I67.7 |  |  |  |  | I67.7 | Q67.7
| Q68.0 | I68.0 |  |  |  |  | I68.0 | Q68.0
| Q68.1 | I68.1 |  |  |  |  | I68.1 | Q68.1
| Q68.2 | I68.2 |  |  |  |  | I68.2 | Q68.2
| Q68.3 | I68.3 |  |  |  |  | I68.3 | Q68.3
| Q68.4 | I68.4 |  |  |  |  | I68.4 | Q68.4
| Q68.5 | I68.5 |  |  |  |  | I68.5 | Q68.5
| Q68.6 | I68.6 |  |  |  |  | I68.6 | Q68.6
| Q68.7 | I68.7 |  |  |  |  | I68.7 | Q68.7
| Q69.0 | I69.0 |  |  |  |  | I69.0 | Q69.0
| Q69.1 | I69.1 |  |  |  |  | I69.1 | Q69.1
| Q69.2 | I69.2 |  |  |  |  | I69.2 | Q69.2
| Q69.3 | I69.3 |  |  |  |  | I69.3 | Q69.3
| Q69.4 | I69.4 |  |  |  |  | I69.4 | Q69.4
| Q69.5 | I69.5 |  |  |  |  | I69.5 | Q69.5
| Q69.6 | I69.6 |  |  |  |  | I69.6 | Q69.6
| Q69.7 | I69.7 |  |  |  |  | I69.7 | Q69.7

## 70 - Testing
PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG | PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG | Part Color Table
I124.0 | Q70.0 | I70.0 | Inductive sensor (metalic) | O_70_SInductive | SS_70_SInductive | Q124.0 | I70.0 | Q70.0 | Lowers elevator | I_70_Elev_Down | SA_70_Elev_Down | Bit 1 | Bit 2 | Tipo Peça
I124.1 | Q70.1 | I70.1 | Part in elevator | O_70_SPart | SS_70_SPart | Q124.1 | I70.1 | Q70.1 | Rises elevator | I_70_Elev_Up | SA_70_Elev_Up | 0 | 0 | No part
I124.2 | Q70.2 | I70.2 | Station through | O_70_SStation | SS_70_SStation | Q124.2 | I70.2 | Q70.2 | Eject parts | I_70_Eject_Part | SA_70_Eject_Part | 0 | 1 | Metallic part
I124.3 | Q70.3 | I70.3 | Part height sensor | O_70_SPart_Height | SS_70_SPart_Height | Q124.3 | I70.3 | Q70.3 | Turns on air (slide) | I_70_Air_On | SA_70_Air_On | 1 | 0 | Black part
I124.4 | Q70.4 | I70.4 | Elevator in high position | O_70_Elev_High | SS_70_Elev_High |  | I70.4 | Q70.4 |  |  |  | 1 | 1 | Red part
I124.5 | Q70.5 | I70.5 | Elevator in low position | O_70_Elev_Low | SS_70_Elev_Low |  | I70.5 | Q70.5
I124.6 | Q70.6 | I70.6 | Eject piston in back position | O_70_Pist_Bck | SS_70_Pist_Bck |  | I70.6 | Q70.6
| Q70.7 | I70.7 |  |  |  |  | I70.7 | Q70.7
I125.0 | Q71.0 | I71.0 | Start Button | O_71_Start | SS_71_Start | Q125.0 | I71.0 | Q71.0 | Start LED | I_71_Led_Start | SA_71_Led_Start
I125.1 | Q71.1 | I71.1 | Stop Button | O_71_Stop | SS_71_Stop | Q125.1 | I71.1 | Q71.1 | Reset LED | I_71_Led_Reset | SA_71_Led_Reset
I125.2 | Q71.2 | I71.2 | Key position | O_71_Key_Pos | SS_71_Key_Pos | Q125.2 | I71.2 | Q71.2 | Extra1 LED | I_71_Led_Extra1 | SA_71_Led_Extra1
I125.3 | Q71.3 | I71.3 | Reset Button | O_71_Reset | SS_71_Reset | Q125.3 | I71.3 | Q71.3 | Extra2 LED | I_71_Led_Extra2 | SA_71_Led_Extra2
I125.4 | Q71.4 | I71.4 | Panel I4 (Outside connection) | O_71_Panel_I4 | SS_71_Panel_I4 | Q125.4 | I71.4 | Q71.4 | Panel O4 (Outside connection) | I_71_Panel_O4 | SA_71_Panel_O4
I125.5 | Q71.5 | I71.5 | Panel I5 (Outside connection) | O_71_Panel_I5 | SS_71_Panel_I5 | Q125.5 | I71.5 | Q71.5 | Panel O5 (Outside connection) | I_71_Panel_O5 | SA_71_Panel_O5
I125.6 | Q71.6 | I71.6 | Panel I6 (Outside connection) | O_71_Panel_I6 | SS_71_Panel_I6 | Q125.6 | I71.6 | Q71.6 | Panel O6 (Outside connection) | I_71_Panel_O6 | SA_71_Panel_O6
I125.7 | Q71.7 | I71.7 | Panel I7 (Outside connection) | O_71_Panel_I7 | SS_71_Panel_I7 | Q125.7 | I71.7 | Q71.7 | Panel O7 (Outside connection) | I_71_Panel_O7 | SA_71_Panel_O7
Q124.0 | Q72.0 | I72.0 | Lowers elevator | F_72_Elev_Down |  |  | I72.0 | Q72.0 | Profibus OK | C_72_Profibus | SC_72_Profibus
Q124.1 | Q72.1 | I72.1 | Rises elevator | F_72_Elev_Up |  |  | I72.1 | Q72.1
Q124.2 | Q72.2 | I72.2 | Eject parts | F_72_Eject_Part |  |  | I72.2 | Q72.2
Q124.3 | Q72.3 | I72.3 | Turns on air (slide) | F_72_Air_On |  |  | I72.3 | Q72.3
| Q72.4 | I72.4 |  |  |  |  | I72.4 | Q72.4
| Q72.5 | I72.5 |  |  |  |  | I72.5 | Q72.5
| Q72.6 | I72.6 |  |  |  |  | I72.6 | Q72.6
| Q72.7 | I72.7 |  |  |  |  | I72.7 | Q72.7
Q125.0 | Q73.0 | I73.0 | Start LED | F_73_Led_Start |  | Cart Number | IB73 | QB73 | Cart Number ID | A_73_TestCartID | SR_73_TestCartID
Q125.1 | Q73.1 | I73.1 | Reset LED | F_73_Led_Reset
Q125.2 | Q73.2 | I73.2 | Extra1 LED | F_73_Led_Extra1
Q125.3 | Q73.3 | I73.3 | Extra2 LED | F_73_Led_Extra2
Q125.4 | Q73.4 | I73.4 | Panel O4 (Outside connection) | F_73_Panel_O4
Q125.5 | Q73.5 | I73.5 | Panel O5 (Outside connection) | F_73_Panel_O5
Q125.6 | Q73.6 | I73.6 | Panel O6 (Outside connection) | F_73_Panel_O6
Q125.7 | Q73.7 | I73.7 | Panel O7 (Outside connection) | F_73_Panel_O7
AS-I | Q74.0 | I74.0 | Request cart | A_74_Request | SR_74_Request | AS-I | I74.0 | Q74.0 | Cart in station | A_74_Cart_Stat
| Q74.1 | I74.1 | No Cart at Station | A_74_No_Cart | SR_74_No_Cart |  | I74.1 | Q74.1 | Cart near next station | A_74_Cart_Next
| Q74.2 | I74.2 | Cart Full at Station | A_74_Cart_Full | SR_74_Cart_Full |  | I74.2 | Q74.2 | Optic sensor on station | A_74_Optic
| Q74.3 | I74.3 | Process Finished - Routing | A_74_CRoute_Out | SR_74_CRoute_Out |  | I74.3 | Q74.3 | Cart count identifier | A_74_Count
| Q74.4 | I74.4 | Cart Arrived - Routing | A_74_CRoute_In80 |  |  | I74.4 | Q74.4 | Piston in back position | A_74_Pist_Bck
| Q74.5 | I74.5 |  |  |  |  | I74.5 | Q74.5 | Pin release feedback | A_74_Release_FB
| Q74.6 | I74.6 |  |  |  |  | I74.6 | Q74.6 | Cart Arrived - Routing | A_74_CRoute_In | SR_74_CRoute_In
| Q74.7 | I74.7 |  |  |  |  | I74.7 | Q74.7
Control | Q75.0 | I75.0 | Initialization Routine | C_75_Initialization | SC_75_Initialization | Control | I75.0 | Q75.0 | Requested Delivery - Bit 1 | C_75_RQ_Delivery1 | SC_75_RQ_Delivery1
| Q75.1 | I75.1 | Identified Delivery - Bit 1 | C_75_ID_Delivery1 | SC_75_ID_Delivery1 |  | I75.1 | Q75.1 | Requested Delivery - Bit 2 | C_75_RQ_Delivery2 | SC_75_RQ_Delivery2
| Q75.2 | I75.2 | Identified Delivery - Bit 2 | C_75_ID_Delivery2 | SC_75_ID_Delivery2 |  | I75.2 | Q75.2 | Identified Delivery | C_75_Identified | SC_75_Identified
| Q75.3 | I75.3 | Part Delivered | C_75_Part_Del | SC_75_Part_Del |  | I75.3 | Q75.3 | Requested Delivery | C_75_Requested | SC_75_Requested
| Q75.4 | I75.4 | Requested Part Delivered | C_75_RQ_Part_Del | SC_75_RQ_Part_Del |  | I75.4 | Q75.4
| Q75.5 | I75.5 | Requested Wrong Part | C_75_RQ_Wrong | SC_75_RQ_Wrong |  | I75.5 | Q75.5
| Q75.6 | I75.6 | Identified Delivery | C_75_Identified80 | SC_75_Identified80 |  | I75.6 | Q75.6
| Q75.7 | I75.7 | Requested Delivery | C_75_Requested80 | SC_75_Requested80 |  | I75.7 | Q75.7
| Q76.0 | I76.0 |  |  |  |  | I76.0 | Q76.0
| Q76.1 | I76.1 |  |  |  |  | I76.1 | Q76.1
| Q76.2 | I76.2 |  |  |  |  | I76.2 | Q76.2
| Q76.3 | I76.3 |  |  |  |  | I76.3 | Q76.3
| Q76.4 | I76.4 |  |  |  |  | I76.4 | Q76.4
| Q76.5 | I76.5 |  |  |  |  | I76.5 | Q76.5
| Q76.6 | I76.6 |  |  |  |  | I76.6 | Q76.6
| Q76.7 | I76.7 |  |  |  |  | I76.7 | Q76.7
| Q77.0 | I77.0 |  |  |  |  | I77.0 | Q77.0
| Q77.1 | I77.1 |  |  |  |  | I77.1 | Q77.1
| Q77.2 | I77.2 |  |  |  |  | I77.2 | Q77.2
| Q77.3 | I77.3 |  |  |  |  | I77.3 | Q77.3
| Q77.4 | I77.4 |  |  |  |  | I77.4 | Q77.4
| Q77.5 | I77.5 |  |  |  |  | I77.5 | Q77.5
| Q77.6 | I77.6 |  |  |  |  | I77.6 | Q77.6
| Q77.7 | I77.7 |  |  |  |  | I77.7 | Q77.7
| Q78.0 | I78.0 |  |  |  |  | I78.0 | Q78.0
| Q78.1 | I78.1 |  |  |  |  | I78.1 | Q78.1
| Q78.2 | I78.2 |  |  |  |  | I78.2 | Q78.2
| Q78.3 | I78.3 |  |  |  |  | I78.3 | Q78.3
| Q78.4 | I78.4 |  |  |  |  | I78.4 | Q78.4
| Q78.5 | I78.5 |  |  |  |  | I78.5 | Q78.5
| Q78.6 | I78.6 |  |  |  |  | I78.6 | Q78.6
| Q78.7 | I78.7 |  |  |  |  | I78.7 | Q78.7
| Q79.0 | I79.0 |  |  |  |  | I79.0 | Q79.0
| Q79.1 | I79.1 |  |  |  |  | I79.1 | Q79.1
| Q79.2 | I79.2 |  |  |  |  | I79.2 | Q79.2
| Q79.3 | I79.3 |  |  |  |  | I79.3 | Q79.3
| Q79.4 | I79.4 |  |  |  |  | I79.4 | Q79.4
| Q79.5 | I79.5 |  |  |  |  | I79.5 | Q79.5
| Q79.6 | I79.6 |  |  |  |  | I79.6 | Q79.6
| Q79.7 | I79.7 |  |  |  |  | I79.7 | Q79.7

## 80 - Distributing
PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG | PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG
I124.0 | Q80.0 | I80.0 | Magazine full | O_80_Mag_Full | SS_80_Mag_Full | Q124.0 | I80.0 | Q80.0 | Pushes part out of the magazine | I_80_Pist_Adv | SA_80_Pist_Adv
I124.1 | Q80.1 | I80.1 | Piston in back position | O_80_Pist_Bck | SS_80_Pist_Bck | Q124.1 | I80.1 | Q80.1 | Suction On | I_80_Suction_On | SA_80_Suction_On
I124.2 | Q80.2 | I80.2 | Piston in forward position | O_80_Pist_Fwd | SS_80_Pist_Fwd | Q124.2 | I80.2 | Q80.2 | Suction Off | I_80_Suction_Off | SA_80_Suction_Off
I124.3 | Q80.3 | I80.3 | Part stuck in arm | O_80_Part_Stuck | SS_80_Part_Stuck | Q124.3 | I80.3 | Q80.3 | Moves arm to delivery (elevator) | I_80_Arm_2_Del | SA_80_Arm_2_Del
I124.4 | Q80.4 | I80.4 | Arm in magazine position | O_80_Arm_Mag | SS_80_Arm_Mag | Q124.4 | I80.4 | Q80.4 | Moves arm to magazine | I_80_Arm_2_Mag | SA_80_Arm_2_Mag
I124.5 | Q80.5 | I80.5 | Arm in delivery (elevator) position | O_80_Arm_Del | SS_80_Arm_Del |  | I80.5 | Q80.5
I124.6 | Q80.6 | I80.6 | Magazine Empty | O_80_Mag_Empty | SS_80_Mag_Empty |  | I80.6 | Q80.6
| Q80.7 | I80.7 |  |  |  |  | I80.7 | Q80.7
I125.0 | Q81.0 | I81.0 | Start Button | O_81_Start | SS_81_Start | Q125.0 | I81.0 | Q81.0 | Start LED | I_81_Led_Start | SA_81_Led_Start
I125.1 | Q81.1 | I81.1 | Stop Button | O_81_Stop | SS_81_Stop | Q125.1 | I81.1 | Q81.1 | Reset LED | I_81_Led_Reset | SA_81_Led_Reset
I125.2 | Q81.2 | I81.2 | Key position | O_81_Key_Pos | SS_81_Key_Pos | Q125.2 | I81.2 | Q81.2 | Extra1 LED | I_81_Led_Extra1 | SA_81_Led_Extra1
I125.3 | Q81.3 | I81.3 | Reset Button | O_81_Reset | SS_81_Reset | Q125.3 | I81.3 | Q81.3 | Extra2 LED | I_81_Led_Extra2 | SA_81_Led_Extra2
I125.4 | Q81.4 | I81.4 | Panel I4 (Outside connection) | O_81_Panel_I4 | SS_81_Panel_I4 | Q125.4 | I81.4 | Q81.4 | Panel O4 (Outside connection) | I_81_Panel_O4 | SA_81_Panel_O4
I125.5 | Q81.5 | I81.5 | Panel I5 (Outside connection) | O_81_Panel_I5 | SS_81_Panel_I5 | Q125.5 | I81.5 | Q81.5 | Panel O5 (Outside connection) | I_81_Panel_O5 | SA_81_Panel_O5
I125.6 | Q81.6 | I81.6 | Panel I6 (Outside connection) | O_81_Panel_I6 | SS_81_Panel_I6 | Q125.6 | I81.6 | Q81.6 | Panel O6 (Outside connection) | I_81_Panel_O6 | SA_81_Panel_O6
I125.7 | Q81.7 | I81.7 | Panel I7 (Outside connection) | O_81_Panel_I7 | SS_81_Panel_I7 | Q125.7 | I81.7 | Q81.7 | Panel O7 (Outside connection) | I_81_Panel_O7 | SA_81_Panel_O7
Q124.0 | Q82.0 | I82.0 | Pushes part out of the magazine | F_82_Pist_Adv |  |  | I82.0 | Q82.0 | Profibus OK | C_82_Profibus | SC_82_Profibus
Q124.1 | Q82.1 | I82.1 | Suction On | F_82_Suction_On |  |  | I82.1 | Q82.1
Q124.2 | Q82.2 | I82.2 | Suction Off | F_82_Suction_Off |  |  | I82.2 | Q82.2
Q124.3 | Q82.3 | I82.3 | Moves arm to delivery (elevator) | F_82_Arm_2_Del |  |  | I82.3 | Q82.3
Q124.4 | Q82.4 | I82.4 | Moves arm to magazine | F_82_Arm_2_Mag |  |  | I82.4 | Q82.4
| Q82.5 | I82.5 |  |  |  |  | I82.5 | Q82.5
| Q82.6 | I82.6 |  |  |  |  | I82.6 | Q82.6
| Q82.7 | I82.7 |  |  |  |  | I82.7 | Q82.7
Q125.0 | Q83.0 | I83.0 | Start LED | F_83_Led_Start |  | Request Parts | IB83 | QB83 | Number of Requested Parts to be used with C_85_Counted. | C_83_RQ_Parts | SC_83_RQ_Parts
Q125.1 | Q83.1 | I83.1 | Reset LED | F_83_Led_Reset
Q125.2 | Q83.2 | I83.2 | Extra1 LED | F_83_Led_Extra1
Q125.3 | Q83.3 | I83.3 | Extra2 LED | F_83_Led_Extra2
Q125.4 | Q83.4 | I83.4 | Panel O4 (Outside connection) | F_83_Panel_O4
Q125.5 | Q83.5 | I83.5 | Panel O5 (Outside connection) | F_83_Panel_O5
Q125.6 | Q83.6 | I83.6 | Panel O6 (Outside connection) | F_83_Panel_O6
Q125.7 | Q83.7 | I83.7 | Panel O7 (Outside connection) | F_83_Panel_O7
AS-I | Q84.0 | I84.0 |  |  |  | AS-I | I84.0 | Q84.0
| Q84.1 | I84.1 |  |  |  |  | I84.1 | Q84.1
| Q84.2 | I84.2 |  |  |  |  | I84.2 | Q84.2
| Q84.3 | I84.3 |  |  |  |  | I84.3 | Q84.3
| Q84.4 | I84.4 |  |  |  |  | I84.4 | Q84.4
| Q84.5 | I84.5 |  |  |  |  | I84.5 | Q84.5
| Q84.6 | I84.6 |  |  |  |  | I84.6 | Q84.6
| Q84.7 | I84.7 |  |  |  |  | I84.7 | Q84.7
Control | Q85.0 | I85.0 | Initialization Routine | C_85_Initialization | SC_85_Initialization | Control | I85.0 | Q85.0 | Start Production | C_85_Start | SC_85_Start
| Q85.1 | I85.1 | Part Delivered | C_85_Part_Del | SC_85_Part_Del |  | I85.1 | Q85.1 | Single Mode | C_85_Single | SC_85_Single
| Q85.2 | I85.2 | Part in Magazine | C_85_Part_Mag | SC_Part_Mag |  | I85.2 | Q85.2 | Continuous Mode | C_85_Continuous | SC_85_Continuous
| Q85.3 | I85.3 |  |  |  |  | I85.3 | Q85.3 | Counted Mode | C_85_Counted | SC_85_Counted
| Q85.4 | I85.4 |  |  |  |  | I85.4 | Q85.4
| Q85.5 | I85.5 |  |  |  |  | I85.5 | Q85.5
| Q85.6 | I85.6 |  |  |  |  | I85.6 | Q85.6
| Q85.7 | I85.7 |  |  |  |  | I85.7 | Q85.7
Existing Parts | QB86 | IB86 | Number of Existing Parts in Magazine | C_86_Mag_Parts | SC_86_Mag_Parts |  | I86.0 | Q86.0
[7 empty] | I86.1 | Q86.1
[7 empty] | I86.2 | Q86.2
[7 empty] | I86.3 | Q86.3
[7 empty] | I86.4 | Q86.4
[7 empty] | I86.5 | Q86.5
[7 empty] | I86.6 | Q86.6
[7 empty] | I86.7 | Q86.7
Existing Parts | QB87 | IB87 | Number of Parts Still Needed in Counted Mode | C_87_RQ_MParts | SC_87_RQ_MParts |  | I87.0 | Q87.0
[7 empty] | I87.1 | Q87.1
[7 empty] | I87.2 | Q87.2
[7 empty] | I87.3 | Q87.3
[7 empty] | I87.4 | Q87.4
[7 empty] | I87.5 | Q87.5
[7 empty] | I87.6 | Q87.6
[7 empty] | I87.7 | Q87.7
| Q88.0 | I88.0 |  |  |  |  | I88.0 | Q88.0
| Q88.1 | I88.1 |  |  |  |  | I88.1 | Q88.1
| Q88.2 | I88.2 |  |  |  |  | I88.2 | Q88.2
| Q88.3 | I88.3 |  |  |  |  | I88.3 | Q88.3
| Q88.4 | I88.4 |  |  |  |  | I88.4 | Q88.4
| Q88.5 | I88.5 |  |  |  |  | I88.5 | Q88.5
| Q88.6 | I88.6 |  |  |  |  | I88.6 | Q88.6
| Q88.7 | I88.7 |  |  |  |  | I88.7 | Q88.7
| Q89.0 | I89.0 |  |  |  |  | I89.0 | Q89.0
| Q89.1 | I89.1 |  |  |  |  | I89.1 | Q89.1
| Q89.2 | I89.2 |  |  |  |  | I89.2 | Q89.2
| Q89.3 | I89.3 |  |  |  |  | I89.3 | Q89.3
| Q89.4 | I89.4 |  |  |  |  | I89.4 | Q89.4
| Q89.5 | I89.5 |  |  |  |  | I89.5 | Q89.5
| Q89.6 | I89.6 |  |  |  |  | I89.6 | Q89.6
| Q89.7 | I89.7 |  |  |  |  | I89.7 | Q89.7

## 90 - Handling 2
PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG | PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG
I124.0 | Q90.0 | I90.0 | Part in reserve position | O_90_Part_Reserve | SS_90_Part_Reserve | Q124.0 | I90.0 | Q90.0 | Moves claw to cart position | I_90_Claw_2_Cart | SA_90_Claw_2_Cart
I124.1 | Q90.1 | I90.1 | Claw at delivery position | O_90_Claw_Del | SS_90_Claw_Del | Q124.1 | I90.1 | Q90.1 | Moves claw to delivery position | I_90_Claw_2_Del | SA_90_Claw_2_Del
I124.2 | Q90.2 | I90.2 | Claw at cart position | O_90_Claw_Cart | SS_90_Claw_Cart | Q124.2 | I90.2 | Q90.2 | Lowers claw | I_90_Claw_Down | SA_90_Claw_Down
I124.3 | Q90.3 | I90.3 | Claw at reserve position | O_90_Claw_Reserve | SS_90_Claw_Reserve | Q124.3 | I90.3 | Q90.3 | Closes claw | I_90_Close_Claw | SA_90_Close_Claw
I124.4 | Q90.4 | I90.4 | Claw Low | O_90_Claw_Low | SS_90_Claw_Low |  | I90.4 | Q90.4
I124.5 | Q90.5 | I90.5 | Claw high | O_90_Claw_High | SS_90_Claw_High |  | I90.5 | Q90.5
I124.6 | Q90.6 | I90.6 | Part in claw | O_90_Part_in_Claw | SS_90_Part_in_Claw |  | I90.6 | Q90.6
| Q90.7 | I90.7 |  |  |  |  | I90.7 | Q90.7
I125.0 | Q91.0 | I91.0 | Start Button | O_91_Start | SS_91_Start | Q125.0 | I91.0 | Q91.0 | Start LED | I_91_Led_Start | SA_91_Led_Start
I125.1 | Q91.1 | I91.1 | Stop Button | O_91_Stop | SS_91_Stop | Q125.1 | I91.1 | Q91.1 | Reset LED | I_91_Led_Reset | SA_91_Led_Reset
I125.2 | Q91.2 | I91.2 | Key position | O_91_Key_Pos | SS_91_Key_Pos | Q125.2 | I91.2 | Q91.2 | Extra1 LED | I_91_Led_Extra1 | SA_91_Led_Extra1
I125.3 | Q91.3 | I91.3 | Reset Button | O_91_Reset | SS_91_Reset | Q125.3 | I91.3 | Q91.3 | Extra2 LED | I_91_Led_Extra2 | SA_91_Led_Extra2
I125.4 | Q91.4 | I91.4 | Panel I4 (Outside connection) | O_91_Panel_I4 | SS_91_Panel_I4 | Q125.4 | I91.4 | Q91.4 | Panel O4 (Outside connection) | I_91_Panel_O4 | SA_91_Panel_O4
I125.5 | Q91.5 | I91.5 | Panel I5 (Outside connection) | O_91_Panel_I5 | SS_91_Panel_I5 | Q125.5 | I91.5 | Q91.5 | Panel O5 (Outside connection) | I_91_Panel_O5 | SA_91_Panel_O5
I125.6 | Q91.6 | I91.6 | Panel I6 (Outside connection) | O_91_Panel_I6 | SS_91_Panel_I6 | Q125.6 | I91.6 | Q91.6 | Panel O6 (Outside connection) | I_91_Panel_O6 | SA_91_Panel_O6
I125.7 | Q91.7 | I91.7 | Panel I7 (Outside connection) | O_91_Panel_I7 | SS_91_Panel_I7 | Q125.7 | I91.7 | Q91.7 | Panel O7 (Outside connection) | I_91_Panel_O7 | SA_91_Panel_O7
Q124.0 | Q92.0 | I92.0 | Moves claw to cart position | F_92_Claw_2_Cart |  |  | I92.0 | Q92.0 | Profibus OK | C_92_Profibus | SC_92_Profibus
Q124.1 | Q92.1 | I92.1 | Moves claw to delivery position | F_92_Claw_2_Del |  |  | I92.1 | Q92.1
Q124.2 | Q92.2 | I92.2 | Lowers claw | F_92_Claw_Down |  |  | I92.2 | Q92.2
Q124.3 | Q92.3 | I92.3 | Closes claw | F_92_Close_Claw |  |  | I92.3 | Q92.3
| Q92.4 | I92.4 |  |  |  |  | I92.4 | Q92.4
| Q92.5 | I92.5 |  |  |  |  | I92.5 | Q92.5
| Q92.6 | I92.6 |  |  |  |  | I92.6 | Q92.6
| Q92.7 | I92.7 |  |  |  |  | I92.7 | Q92.7
Q125.0 | Q93.0 | I93.0 | Start LED | F_93_Led_Start |  | Cart Number | IB93 | QB93 | Cart Number ID | A_93_ProcCartID | SR_93_ProcCartID
Q125.1 | Q93.1 | I93.1 | Reset LED | F_93_Led_Reset
Q125.2 | Q93.2 | I93.2 | Extra1 LED | F_93_Led_Extra1
Q125.3 | Q93.3 | I93.3 | Extra2 LED | F_93_Led_Extra2
Q125.4 | Q93.4 | I93.4 | Panel O4 (Outside connection) | F_93_Panel_O4
Q125.5 | Q93.5 | I93.5 | Panel O5 (Outside connection) | F_93_Panel_O5
Q125.6 | Q93.6 | I93.6 | Panel O6 (Outside connection) | F_93_Panel_O6
Q125.7 | Q93.7 | I93.7 | Panel O7 (Outside connection) | F_93_Panel_O7
AS-I | Q94.0 | I94.0 | Request cart | A_94_Request | SR_94_Request | AS-I | I94.0 | Q94.0 | Cart in station | A_94_Cart_Stat
| Q94.1 | I94.1 | No Cart at Station | A_94_No_Cart | SR_94_No_Cart |  | I94.1 | Q94.1 | Cart near next station | A_94_Cart_Next
| Q94.2 | I94.2 | Cart Full at Station | A_94_Cart_Full | SR_94_Cart_Full |  | I94.2 | Q94.2 | Optic sensor on station | A_94_Optic
| Q94.3 | I94.3 | Process Finished - Routing | A_94_CRoute_Out | SR_94_CRoute_Out |  | I94.3 | Q94.3 | Cart count identifier | A_94_Count
| Q94.4 | I94.4 |  |  |  |  | I94.4 | Q94.4 | Piston in back position | A_94_Pist_Bck
| Q94.5 | I94.5 |  |  |  |  | I94.5 | Q94.5 | Pin release feedback | A_94_Release_FB
| Q94.6 | I94.6 |  |  |  |  | I94.6 | Q94.6 | Cart Arrived - Routing | A_94_CRoute_In | SR_94_CRoute_In
| Q94.7 | I94.7 |  |  |  |  | I94.7 | Q94.7
Control | Q95.0 | I95.0 | Initialization Routine | C_95_Initialization | SC_95_Initialization | Control | I95.0 | Q95.0 | Strat Arm Movement | C_95_Start | SC_95_Start
| Q95.1 | I95.1 | Part Delivered to Processing | C_95_PD_Proc | SC_95_PD_Proc |  | I95.1 | Q95.1 | Cart to Delivery Mode | C_95_Cart2Del | SC_95_Cart2Del
| Q95.2 | I95.2 | Part Delivered to Cart | C_95_PD_Cart | SC_95_PD_Cart |  | I95.2 | Q95.2 | Delivery to Cart Mode | C_95_Del2Cart | SC_95_Del2Cart
| Q95.3 | I95.3 |  |  |  |  | I95.3 | Q95.3
| Q95.4 | I95.4 |  |  |  |  | I95.4 | Q95.4
| Q95.5 | I95.5 |  |  |  |  | I95.5 | Q95.5
| Q95.6 | I95.6 |  |  |  |  | I95.6 | Q95.6
| Q95.7 | I95.7 |  |  |  |  | I95.7 | Q95.7
| Q96.0 | I96.0 |  |  |  |  | I96.0 | Q96.0
| Q96.1 | I96.1 |  |  |  |  | I96.1 | Q96.1
| Q96.2 | I96.2 |  |  |  |  | I96.2 | Q96.2
| Q96.3 | I96.3 |  |  |  |  | I96.3 | Q96.3
| Q96.4 | I96.4 |  |  |  |  | I96.4 | Q96.4
| Q96.5 | I96.5 |  |  |  |  | I96.5 | Q96.5
| Q96.6 | I96.6 |  |  |  |  | I96.6 | Q96.6
| Q96.7 | I96.7 |  |  |  |  | I96.7 | Q96.7
| Q97.0 | I97.0 |  |  |  |  | I97.0 | Q97.0
| Q97.1 | I97.1 |  |  |  |  | I97.1 | Q97.1
| Q97.2 | I97.2 |  |  |  |  | I97.2 | Q97.2
| Q97.3 | I97.3 |  |  |  |  | I97.3 | Q97.3
| Q97.4 | I97.4 |  |  |  |  | I97.4 | Q97.4
| Q97.5 | I97.5 |  |  |  |  | I97.5 | Q97.5
| Q97.6 | I97.6 |  |  |  |  | I97.6 | Q97.6
| Q97.7 | I97.7 |  |  |  |  | I97.7 | Q97.7
| Q98.0 | I98.0 |  |  |  |  | I98.0 | Q98.0
| Q98.1 | I98.1 |  |  |  |  | I98.1 | Q98.1
| Q98.2 | I98.2 |  |  |  |  | I98.2 | Q98.2
| Q98.3 | I98.3 |  |  |  |  | I98.3 | Q98.3
| Q98.4 | I98.4 |  |  |  |  | I98.4 | Q98.4
| Q98.5 | I98.5 |  |  |  |  | I98.5 | Q98.5
| Q98.6 | I98.6 |  |  |  |  | I98.6 | Q98.6
| Q98.7 | I98.7 |  |  |  |  | I98.7 | Q98.7
| Q99.0 | I99.0 |  |  |  |  | I99.0 | Q99.0
| Q99.1 | I99.1 |  |  |  |  | I99.1 | Q99.1
| Q99.2 | I99.2 |  |  |  |  | I99.2 | Q99.2
| Q99.3 | I99.3 |  |  |  |  | I99.3 | Q99.3
| Q99.4 | I99.4 |  |  |  |  | I99.4 | Q99.4
| Q99.5 | I99.5 |  |  |  |  | I99.5 | Q99.5
| Q99.6 | I99.6 |  |  |  |  | I99.6 | Q99.6
| Q99.7 | I99.7 |  |  |  |  | I99.7 | Q99.7

## 100 - Processing
PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG | PLC | Slave Pro | Master Pro | Function | TAG | Simulated TAG
I124.0 | Q100.0 | I100.0 | Part in initial position | O_100_PInit_Pos | SS_100_PInit_Pos | Q124.0 | I100.0 | Q100.0 | Turns drill on | I_100_Drill_On | SA_100_Drill_On
I124.1 | Q100.1 | I100.1 | Part in drill position | O_100_PDrill_Pos | SS_100_PDrill_Pos | Q124.1 | I100.1 | Q100.1 | Moves rotating table | I_100_RT_On | SA_100_RT_On
I124.2 | Q100.2 | I100.2 | Part in test position | O_100_PTest_Pos | SS_100_PTest_Pos | Q124.2 | I100.2 | Q100.2 | Lowers drill | I_100_Drill_Down | SA_100_Drill_Down
I124.3 | Q100.3 | I100.3 | Drill in high position | O_100_SDrill_High | SS_100_SDrill_High | Q124.3 | I100.3 | Q100.3 | Raises drill | I_100_Drill_Up | SA_100_Drill_Up
I124.4 | Q100.4 | I100.4 | Drill in low position | O_100_SDrill_Low | SS_100_SDrill_Low | Q124.4 | I100.4 | Q100.4 | Advances drill pin | I_100_Drill_Pin | SA_100_Drill_Pin
I124.5 | Q100.5 | I100.5 | Rotating table sensor | O_100_RT_Sensor | SS_100_RT_Sensor | Q124.5 | I100.5 | Q100.5 | Advances test pin | I_100_Test_Pin | SA_100_Test_Pin
I124.6 | Q100.6 | I100.6 | Test Ok | O_100_PTest_Ok | SS_100_PTest_Ok |  | I100.6 | Q100.6
| Q100.7 | I100.7 |  |  |  |  | I100.7 | Q100.7
I125.0 | Q101.0 | I101.0 | Start Button | O_101_Start | SS_101_Start | Q125.0 | I101.0 | Q101.0 | Start LED | I_101_Led_Start | SA_101_Led_Start
I125.1 | Q101.1 | I101.1 | Stop Button | O_101_Stop | SS_101_Stop | Q125.1 | I101.1 | Q101.1 | Reset LED | I_101_Led_Reset | SA_101_Led_Reset
I125.2 | Q101.2 | I101.2 | Key position | O_101_Key_Pos | SS_101_Key_Pos | Q125.2 | I101.2 | Q101.2 | Extra1 LED | I_101_Led_Extra1 | SA_101_Led_Extra1
I125.3 | Q101.3 | I101.3 | Reset Button | O_101_Reset | SS_101_Reset | Q125.3 | I101.3 | Q101.3 | Extra2 LED | I_101_Led_Extra2 | SA_101_Led_Extra2
I125.4 | Q101.4 | I101.4 | Panel I4 (Outside connection) | O_101_Panel_I4 | SS_101_Panel_I4 | Q125.4 | I101.4 | Q101.4 | Panel O4 (Outside connection) | I_101_Panel_O4 | SA_101_Panel_O4
I125.5 | Q101.5 | I101.5 | Panel I5 (Outside connection) | O_101_Panel_I5 | SS_101_Panel_I5 | Q125.5 | I101.5 | Q101.5 | Panel O5 (Outside connection) | I_101_Panel_O5 | SA_101_Panel_O5
I125.6 | Q101.6 | I101.6 | Panel I6 (Outside connection) | O_101_Panel_I6 | SS_101_Panel_I6 | Q125.6 | I101.6 | Q101.6 | Panel O6 (Outside connection) | I_101_Panel_O6 | SA_101_Panel_O6
I125.7 | Q101.7 | I101.7 | Panel I7 (Outside connection) | O_101_Panel_I7 | SS_101_Panel_I7 | Q125.7 | I101.7 | Q101.7 | Panel O7 (Outside connection) | I_101_Panel_O7 | SA_101_Panel_O7
Q124.0 | Q102.0 | I102.0 | Turns drill on | F_102_Drill_On |  |  | I102.0 | Q102.0 | Profibus OK | C_102_Profibus | SC_102_Profibus
Q124.1 | Q102.1 | I102.1 | Moves rotating table | F_102_RT_On |  |  | I102.1 | Q102.1
Q124.2 | Q102.2 | I102.2 | Lowers drill | F_102_Drill_Down |  |  | I102.2 | Q102.2
Q124.3 | Q102.3 | I102.3 | Raises drill | F_102_Drill_Up |  |  | I102.3 | Q102.3
Q124.4 | Q102.4 | I102.4 | Advances drill pin | F_102_Drill_Pin |  |  | I102.4 | Q102.4
Q124.5 | Q102.5 | I102.5 | Advances test pin | F_102_Test_Pin |  |  | I102.5 | Q102.5
| Q102.6 | I102.6 |  |  |  |  | I102.6 | Q102.6
| Q102.7 | I102.7 |  |  |  |  | I102.7 | Q102.7
Q125.0 | Q103.0 | I103.0 | Start LED | F_103_Led_Start |  | Request Turns | IB103 | QB103 | Number of Requested Turns to be used with C_105_Rotation | C_103_RQ_Turns | SC_103_RQ_Turns
Q125.1 | Q103.1 | I103.1 | Reset LED | F_103_Led_Reset
Q125.2 | Q103.2 | I103.2 | Extra1 LED | F_103_Led_Extra1
Q125.3 | Q103.3 | I103.3 | Extra2 LED | F_103_Led_Extra2
Q125.4 | Q103.4 | I103.4 | Panel O4 (Outside connection) | F_103_Panel_O4
Q125.5 | Q103.5 | I103.5 | Panel O5 (Outside connection) | F_103_Panel_O5
Q125.6 | Q103.6 | I103.6 | Panel O6 (Outside connection) | F_103_Panel_O6
Q125.7 | Q103.7 | I103.7 | Panel O7 (Outside connection) | F_103_Panel_O7
AS-I | Q104.0 | I104.0 |  |  |  | AS-I | I104.0 | Q104.0
| Q104.1 | I104.1 |  |  |  |  | I104.1 | Q104.1
| Q104.2 | I104.2 |  |  |  |  | I104.2 | Q104.2
| Q104.3 | I104.3 |  |  |  |  | I104.3 | Q104.3
| Q104.4 | I104.4 |  |  |  |  | I104.4 | Q104.4
| Q104.5 | I104.5 |  |  |  |  | I104.5 | Q104.5
| Q104.6 | I104.6 |  |  |  |  | I104.6 | Q104.6
| Q104.7 | I104.7 |  |  |  |  | I104.7 | Q104.7
Control | Q105.0 | I105.0 | Initialization Routine | C_105_Initialization | SC_105_Initialization | Control | I105.0 | Q105.0 | Start | C_105_Start | SC_105_Start
| Q105.1 | I105.1 | Part Ready for Transport | C_105_Part_ready | SC_105_Part_ready |  | I105.1 | Q105.1 | Test Only Mode | C_105_Test | SC_105_Test
| Q105.2 | I105.2 | Test Ok | C_105_Test_Ok | SC_105_Test_Ok |  | I105.2 | Q105.2 | Test and Drill Mode | C_105_TestDrill | SC_105_TestDrill
| Q105.3 | I105.3 | Test Fail | C_105_Test_Fail | SC_105_Test_Fail |  | I105.3 | Q105.3 | Rotate the Table only | C_105_Rotation | SC_105_Rotation
| Q105.4 | I105.4 |  |  |  |  | I105.4 | Q105.4
| Q105.5 | I105.5 |  |  |  |  | I105.5 | Q105.5
| Q105.6 | I105.6 |  |  |  |  | I105.6 | Q105.6
| Q105.7 | I105.7 |  |  |  |  | I105.7 | Q105.7
RT Turns | QB106 | IB106 | Counter of positions changed for the Rotation Table | C_106_RT_Counter | SC_106_RT_Counter |  | I106.0 | Q106.0
[7 empty] | I106.1 | Q106.1
[7 empty] | I106.2 | Q106.2
[7 empty] | I106.3 | Q106.3
[7 empty] | I106.4 | Q106.4
[7 empty] | I106.5 | Q106.5
[7 empty] | I106.6 | Q106.6
[7 empty] | I106.7 | Q106.7
| Q107.0 | I107.0 |  |  |  |  | I107.0 | Q107.0
| Q107.1 | I107.1 |  |  |  |  | I107.1 | Q107.1
| Q107.2 | I107.2 |  |  |  |  | I107.2 | Q107.2
| Q107.3 | I107.3 |  |  |  |  | I107.3 | Q107.3
| Q107.4 | I107.4 |  |  |  |  | I107.4 | Q107.4
| Q107.5 | I107.5 |  |  |  |  | I107.5 | Q107.5
| Q107.6 | I107.6 |  |  |  |  | I107.6 | Q107.6
| Q107.7 | I107.7 |  |  |  |  | I107.7 | Q107.7
| Q108.0 | I108.0 |  |  |  |  | I108.0 | Q108.0
| Q108.1 | I108.1 |  |  |  |  | I108.1 | Q108.1
| Q108.2 | I108.2 |  |  |  |  | I108.2 | Q108.2
| Q108.3 | I108.3 |  |  |  |  | I108.3 | Q108.3
| Q108.4 | I108.4 |  |  |  |  | I108.4 | Q108.4
| Q108.5 | I108.5 |  |  |  |  | I108.5 | Q108.5
| Q108.6 | I108.6 |  |  |  |  | I108.6 | Q108.6
| Q108.7 | I108.7 |  |  |  |  | I108.7 | Q108.7
| Q109.0 | I109.0 |  |  |  |  | I109.0 | Q109.0
| Q109.1 | I109.1 |  |  |  |  | I109.1 | Q109.1
| Q109.2 | I109.2 |  |  |  |  | I109.2 | Q109.2
| Q109.3 | I109.3 |  |  |  |  | I109.3 | Q109.3
| Q109.4 | I109.4 |  |  |  |  | I109.4 | Q109.4
| Q109.5 | I109.5 |  |  |  |  | I109.5 | Q109.5
| Q109.6 | I109.6 |  |  |  |  | I109.6 | Q109.6
| Q109.7 | I109.7 |  |  |  |  | I109.7 | Q109.7